국 문 규 격 서

COMMODITY DESCRIPTION

관세분류 번호 HSK No.	픔목번호 Item No.	품명 및 규격	규 격 Unit	수 량 Quantity
9016002000	SPX2202KR	정밀용 저울	Set	1

A. 특징 Feature

1. 조작이 간단하며 최소한의 동작으로 무게측정이 가능하며 실험실, 학교, 기업, 공장 등에서

다양한 용도로 사용 가능

2. 1.5초의 빠른 안정화 시간으로 작업의 생산성 향상

3. 부품수 카운팅, 체크계량, 백분율(%), 합산, 디스플레이 홀드 등 다양한 기능모드

4. 백라이트 기능의 고해상도 LCD 디스플레이와 4개의 버튼으로 작동이 사용자 중심 편의

5. 전용 USB/RS232 케이블을 통하여 PC 또는 프린터와의 연결 가능

6. 최대용량 10배에 이르는 과부하 보호장치와 슬림한 디자인으로 작업공간의 최소화

7. Weigh Below Hook로 밀도 및 비중 계산 기능

B. 사양 Specification

1. 최대용량 Capacity: 2200 g

2. 정밀도 Readability: 0.01 g

3. 재현성 Repeatibility (Std. Dev.): 0.01 g

4. 직선성 Linearity: ±0.03 g

5. 응용모드: 부품수 계수, 백분율 계량, 체크, 합산, 화면 정지 등

6. 테어 범위 Tare range: To capacity by subtraction

7. 과부하 용량 Over range capacity: Capacity의 10배

8. 안정화 시간 Stabilization time: 1.5초

9. 작동 범위 Operating temperature range: 50° to 104°F / 10° to 40°C

10. 전원 Power requirements: AC Adapter (included) or 4 AA Batteries (not included)

11. 보정 Calibration: Digital calibration from keypad

12. 분동 Mass: 2000 g (Full span)

13. 화면 Display: High Contrast LCD with 20mm high

14. 팬 사이즈 Pan size: 170 x 140 mm

15. 저울 크기 Dimensions WxHxD: 202 x 224 x 54mm

C. 옵션 악세사리 Optional Accessories

* SF40A, OH-380D Printer, USB/RS232 Cable

* SPDC 통신 Software

D. Remarks : 1년 Warranty Service