국 문 규 격 서

COMMODITY DESCRIPTION

관세분류 번호 HSK No.	픔목번호 Item No.	품명 및 규격	규 격 Unit	수 량 Quantity
9016002000	DVG215CD	분석용 저울	Set	1

A. Feature

1. 동급사양 분석용 밸런스 대비 직선성, 반복성 속도 2배 증가

2. 온도변화에 따른 자동 캘리브레이션

3. 강화유리와 특수스틸의 몸체구성으로 최적의 안정성, 정확도 구현

4. 밀도/비중 측정이 가능

5. RS232를 사용한 GLP 인쇄 - 실험결과, 시간/날짜. ID, 캘리브레이션 내용 인쇄.

6. 날짜, 시간, 저울 시리얼 넘버, 사용자, 프로젝트명, 실험결과 등을 완벽하게 나타낼 수 있는 대용량 GLP/GMP

7. 분동 내장형

B. Specification

1. Capacity : 81g / 210g

2. Readability : 0.01mg / 0.1mg

3. Repeatibility (Std. Dev.) : 0.02mg / 0.1mg

4. Linearity : ±0.03 / 0.2mg

5. Weighing units : Milligram, gram, carat

6. Application Modes: Weighing, Dynamic Weighing, Parts Counting with Automatic Sample                                         Recalibration, Percent Weighing, Checkweighing, Totalization, Display Hold

7. Tare range: To capacity by subtraction

8. Stabilization time (seconds): 12 / 5

9. Operating Temperature Range:  10° to 40° C

10. Calibration: Automatic internal, Pushbutton internal, Manual external

11. Display type: 2-Line Alphanumeric Brilliant Backlit LCD Display With Text Prompts

12. Display (in/cm): 4 x 1 / 10 x 2.5

13. Pan size (in/cm): 3.5 / 9 Diameter

14. Dimensions WxHxD (in/cm): 7.9 x 11.8 x 18 / 20 x 30 x 45.7

C. Optional Accessories

* OH-370D, OH-380D Printer / RS232 Cable

* Balance Talk Software

D. Remarks

* 1Year