국 문 규 격 서

COMMODITY DESCRIPTION

관세분류 번호 HSK No.	픔목번호 Item No.	품명 및 규격	규 격 Unit	수 량 Quantity
9016002000	PAG214C	정밀용 저울	Set	1

A. Feature

1. 사용자와 저울간의 인터페이스 최적의 조건을 만드는 간편 작동법

2. 다양한 계측단위 (mg, g, kg, ct)

3. 한층 강화된 부품수 카운팅, 저울 밑 무게측정, 무게검수, 백분율, 총계, 화면캡처

4. 밀도/비중 측정 가능

5. 상단 전면에 수평표시기가 설계되어 있어서 사용 전 수평을 신속 확인

6. 방풍케이스의 분해가 간단하여 저울을 신속하게 청소 가능

7. 분동 내장형 (외부 분동 필요없슴)

B. Specification

1. Capacity : 210 g

2. Readability : 0.1 mg

3. Repeatibility (Std. Dev.) : 0.1 mg

4. Linearity : 0.3 mg

5. Weighing units : milligram, gram, kilo gram, ct

6. Application Modes: Weighing, parts counting, percent d

7. Tare range: To capacity by subtraction

8. Stabilization time: 3초

9. Operating Temperature Range: 14° F / -10° C to 104° F / 40° C at 10% to 80% relative humidity, non-condensing, up to 4000m above sea level

10. Calibration: Digital calibration from keypad

11. Pan size:  Dia. 9 cm

12. Dimensions (WxHxD): 19.6 x 28.7 x 32 cm (with draft shield)

C. Optional Accessories

* OH-370D Printer / RS232 Cable

* Balance Talk Software

D. Remarks