영 문 규 격 서

COMMODITY DESCRIPTION

관세분류 번호 HSK No.	픔목번호 Item No.	품명 및 규격	규 격 Unit	수 량 Quantity
9016002000	AVG4102C	Precision Balance	Set	1

A. Feature

Frameless draftshield for easy access

SmarText™ software easily guides users through applications

Flexibility of options include InCal™ Internal Calibration, factory installed USB or second RS232

OIML/NTEP models available

The Ohaus® Adventurer™Pro family combines unsurpassed value with solid reliability. Adventurer Pro balances are affordable, accurate and easy to use for all of your basic weighing needs. The Adventurer Pro family offers capacities ranging from 51 g to 8100 g.

B. Specification

1. Capacity : 4100 g

2. Readability : 0.01 g

3. Repeatibility (Std. Dev.) : 0.01 g

4. Linearity : ±0.02

5. Weighing units : Milligram, gram, kilogram, carat

6. Application Modes: Weighing, Dynamic Weighing, Parts Counting with Automatic Sample                                         Recalibration, Percent Weighing, Checkweighing, Totalization, Display Hold

7. Tare range: To capacity by subtraction

8. Stabilization time (seconds): 3

9. Operating Temperature Range: 50° to 86° F / 10° to 30° C

10. Calibration: Digital with Internal Weight

11. Display type: 2-Line Alphanumeric Brilliant Backlit LCD Display With Text Prompts

12. Display (in/cm): 4 x 1 / 10 x 2

13. Pan size (in/cm): 6.6 X 7.1 / 16.8 X 18

14. Dimensions WxHxD (in/cm): 15.5 x 16 x 19.5 / 39 x 41 x 50

C. Optional Accessories

* OH-380D Printer / RS232 Cable

* Balance Talk Software

D. Remarks